Lab Worksheet for:  The LCR Circuit Oscillator					PH1140

Name:							Section:

(W1)	Read the fit parameters and record the frequency ωd and the damping factor γ.

Use the measured value of γ and the manufacturer’s nominal value of inductance L=1 mH to calculate the circuit resistance R.

(W2)	Using the nominal values of L and C=3.3μF, calculate ω0.

How well does this value agree with the measured values of  ωd and γ?

What can you conclude about the product LC?

(W3)	What is the total R resistance of your circuit?

Using the corrected value of LC, calculate the new frequency ωd and damping factor γ.

Read the fit parameters and record the damped oscillation frequency ωd and the damping factor γ.

How well do these agree with the calculated values?